## Slide 1: Work Completion Form
Activity | ATAP installation –{rating}kWp
Client | {name}
Location | {address}
Date | {date}
The Solar PV system installed is equipped with Solar PV panels, inverter and it’s cabling, AC breaker and PV meter connecting to the house’s Distribution Board (please refer to page 2 for PV panel and inverter brand, model and quantity installed). Please review the work that has been completed before signing this document. After the review is complete and are satisfactory, kindly acknowledge the work completion for the company and the system shall fully handover to the house owner effective on the date signed.
By signing below, I certify that the job was done to my satisfaction.
Review by:
Customer Name:{name} Date:{date_sign}
Company Representative:
Name: {salesman_name}
Company: Ai solar sdn bhd
Date: {salesmansign_date}
After installation - SOP for TNB Meter change:
Submit NEM Meter Application Form to TNB Office. Upon the balance-payment has been completed.
TNB will release a ‘Demand Letter’ including 10 Ringgit Malaysia Stamp Duty bill. The solar company will make the payment.
NEM Meter change will be processed within 1 month from the Meter Application Form submission. Meter will be changed on-site or will be set remotely online. *Note: to clear any outstanding TNB bills.
7 working days after NEM Meter has changed, the ‘Welcome Letter’ will be sent by TNB to Owner. Once received Owner can switch on the system.
Owner to revert ‘Welcome letter’ to the solar company.
Steps to switch on the solar system:
  ‘Push Up’ the Circuit Breaker switch.
  At the bottom of the inverter – Turn the switch clockwise to ‘ON’.
{sign}

## Slide 2: Inspection Checklist Form
House/Project:
Site Inspection
No | Description | Remark | Photo
1 | Have existing leaking |  | 
Material Inspection
No | Item | Brand/Model | Photo
1 | Solar PV Module | Jinko 635w – {panel_count} pcs | 
2 | Inverter | Solis S6-GR1P5K - 1 nos | 
3 | DC Cabling | 4mm2 1500v | 
4 | AC and Earth Cabling | 6mm2 cu/pvc & 10mm2 cu/pvc (green) | 
5 | AC breaker | Taxnele c32 2p ac breaker | 
6 | PV Meter | Acrel adl200 digital meter | 
7 | DB Box | 1 row db box | 
8. Ac spd suntree 40kA
General Scope of Works
No | Description | Complete | Photo
1 | {panel_count} nos. of PV modules was installed. | / | 
2 | Inverter is installed and LED displayed showing current energy production data. | / | 
3 | AC breaker is installed. | / | 
4 | PV meter is installed and actual energy produced by system is displayed. | / | 
5 | Actual energy produced by system is displayed in PV System. | / | 
6 | System installed is tested and no error observed from the inverter. | / | 
7 | DC cable is connected to inverter and AC cable is well laying from inverter to DB | / | 
8 | The trunking and conduits are installed and secured properly. | / | 
9 | App setup / Wifi Setup. | / | 
Testing & Commissioning
No | Description | Remark | Photo
1 | Strings VOC: Strings Vmp: | String 1 – {string_1_count} nos :{string_1_v} Sting 2- {string_2_count} :{string_2_v}v | 
2 | AC Voltage When Inverter On Before (R/Y/B): After (R/Y/B): | Before LN: {line_neutral_before}v After LN: {line_neutral_after}v | 
Others:
Solis cloud
Plant name : {plant_name}
Inv pass: admin1234
Remarks:
PV modules Serial number: {panel_sn}
Inverter SN : {inverter_sn}
Dongle : {dongle_sn}

## Slide 3
Inspection Checklist Form
{%img_solar_layout}